Top of Form

| No: PUR/2011-12/IND19614/KK | Date: 29/12/2011 |
| --- | --- |

To

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Nitrogen Generator, 1 |  | 2 |

Important Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. Please quote strictly as per our specifications. Please attach compliance sheet Proforma Invoice received after due date will not be considered under any circumstances. Please note that your Quotation should reach us latest by 10/01/2012 opened on 11/01/2012 Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. Please submit in Two bid 1. Technical Bid 2.Price bid

Yours faithfully,

Stores & Purchase Officer.

Specifications for the Nitrogen Generator

- Nitrogen flow rate upto 35 Litres/min or more

- N2 purity: >98 to 99.5%

- Outlet pressure up to 7 barg or 100 psig

- Inbuilt compressor

- Inbuilt flow and pressure regulators

- Equipped w alarms

- Equipped w wheels

- Power supply, 220-240 volt, 50 Hz

- Warranty  one year

Optional:

- N2 Storage vessel or cylinder (15 L or more)

- AMC after expiry of warranty

Bottom of Form