INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH),

(Council of Scientific & Industrial Research)

Sector 39-A, Chandigarh -160036 (India)

## Ph: 0091-172-2690056/2695225/6/7 ext. 331/334, fax:2 690585/2690632, 2636683

## e-mail: purchase@imtech.res.in

| No: PUR/2010-11/IND114478+14422+14664/KK | Date: 17/02/2011 |
| --- | --- |

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Gradient PCR machine |  | 7 |

Important Important : Quote in Two bid i.e. (1) Tech. Bid (2) Price Bid Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. Please quote strictly as per our specifications. Please attach compliance sheet Proforma Invoice received after due date will not be considered under any circumstances. Please note that your Quotation should reach us latest by 01/03/2011 opened on 03/03/2011 Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation.

Yours faithfully,

Stores & Purchase O

Specifications for Gradient Thermal Cycler

- Peltier-based universal block or exchangeable blocks (with automatic block recognition) for 96 x 0.2 ml PCR tubes/96-well microtitre plate, and ≥ 60 x 0.5 ml PCR tubes.

- Heated lid

- Temperature-control range 4 °C to 99 °C

- Block homogeneity: ±0.5°C or better

- Adjustable Ramping Rate: ≥ 3°C/s (heating) & ≥ 2°C/s (cooling).

- Temperature gradient: Programmable from 4 to 20 °C, for both 0.2 ml and 0.5 ml tubes

- Auto-restart in the event of power failure.

- No. of programs ≥ 100

- CE certificate

- Power: 230 V, 50 Hz

- Warranty : 2 years

Important Clauses

- Detailed literature (all originals) with technical specifications and features should be sent along with the offer.

- Copies of CE and other certificates should be enclosed.

- The compliance statement of specifications offered by the quoted model vis-à-vis tender specifications must be submitted with the deviations clearly mentioned. Any incorrect or ambiguous information found submitted will result in disqualification of the tender.

- Spares for the system should be available for a minimum period of ten years and a certificate from manufacturer confirming this should be enclosed.

- Availability of local service support and response time for a service call during and after warranty should be specified.

- List of users of the quoted model in India along with their names, telephone numbers and email addresses should be sent along with the offer.

TERMS & CONDITIONS

Commercial

1) Cost                  : 	Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment.

2) Insurance         :	Consignment should be insured through National Insurance               Company of India or is associate in your country.

3) Freight              :	The dispatch of the material should be through Air India preferably.

4) Agency             : 	Mention the   percentage   of  Indian  Agency   Commission  payable  to

Commission                    commission Indian Agent in INR and also mention the name of your   authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end.

5) Validity             : 	The validity of your pro forma invoice should be less than 180 days from the date of opening.

6) Warranty           : 	Mention the warranty period of equipment after satisfactory   installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above

General Condition

- Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market.

- Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization.

- Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years.

- Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required.

- Provide the list of the users in India of the same equipment along with their contact / email address.

- Enclose a copy of agreement with your authorized Indian Agent.

- 10% Performance Bank Guarantee must be submitted if order value beyond 25.00 lakhs.

FAX : 0091-172-2690056, 2690632			                                   email : purchase@imtech.res.in

TEL  : 0091-0172-2690056, 2636680 - 94     	                                            website : www.imtech.res.in

INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH),

(Council of Scientific & Industrial Research)

Sector 39-A, Chandigarh -160036 (India)

## Ph: 0091-172-2690056/2695225/6/7 ext. 331/334, fax:2 690585/2690632, 2636683

## e-mail: purchase@imtech.res.in

| No: PUR/2010-11/IND14479/KK | Date: 17/02/2011 |
| --- | --- |

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | PCR machine (Normal) | - | 4 |

Important Important : Quote in Two bid i.e. (1) Tech. Bid (2) Price Bid Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. Please quote strictly as per our specifications. Please attach compliance sheet Proforma Invoice received after due date will not be considered under any circumstances. Please note that your Quotation should reach us latest by 01/03/2011 opened on 03/03/2011 Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation.

Yours faithfully,

Stores & Purchase Officer.

Specifications:

Specifications for Thermal Cycler (normal)

  - Universal block or exchangeable blocks (with automatic block recognition) for 96 x 0.2 ml PCR tubes/96-well microtitre plate, and ≥ 60 x 0.5 ml PCR tubes.

  - Heated lid

  - Temperature-control range 4 °C to 99 °C

  - Block homogeneity: ±0.4°C or better

  - Adjustable Ramping Rate: ≥ 3°C/s (heating) & ≥ 2°C/s (cooling).

  - LCD display

  - Auto-restart in the event of power failure.

  - No. of programs ≥ 100

  - CE certificate

  - Power: 230 V, 50 Hz

  - Warranty : 2 years

Important Clauses

- Detailed literature (all originals) with technical specifications and features should be sent along with the offer.

- Copies of CE and other certificates should be enclosed.

- The compliance statement of specifications offered by the quoted model vis-à-vis tender specifications must be submitted with the deviations clearly mentioned. Any incorrect or ambiguous information found submitted will result in disqualification of the tender.

- Spares for the system should be available for a minimum period of ten years and a certificate from manufacturer confirming this should be enclosed.

- Availability of local service support and response time for a service call during and after warranty should be specified.

- List of users of the quoted model in India along with their names, telephone numbers and email addresses should be sent along with the offer.

TERMS & CONDITIONS

Commercial

1) Cost                  : 	Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment.

2) Insurance         :	Consignment should be insured through National Insurance               Company of India or is associate in your country.

3) Freight              :	The dispatch of the material should be through Air India preferably.

4) Agency             : 	Mention the   percentage   of  Indian  Agency   Commission  payable  to

Commission                    commission Indian Agent in INR and also mention the name of your   authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end.

5) Validity             : 	The validity of your pro forma invoice should be less than 180 days from the date of opening.

6) Warranty           : 	Mention the warranty period of equipment after satisfactory   installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above

General Condition

- Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market.

- Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization.

- Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years.

- Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required.

- Provide the list of the users in India of the same equipment along with their contact / email address.

- Enclose a copy of agreement with your authorized Indian Agent.

- 10% Performance Bank Guarantee must be submitted if order value beyond 25.00 lakhs.

FAX : 0091-172-2690056, 2690632			                                   email : purchase@imtech.res.in

TEL  : 0091-0172-2690056, 2636680 - 94     	                                            website : www.imtech.res.in