INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH),

(Council of Scientific & Industrial Research)

Sector 39-A, Chandigarh -160036 (India)

## Ph: 0091-172-2690056/2695225/6/7 ext. 331/334, fax:2 690585/2690632, 2636683

## e-mail: purchase@imtech.res.in

| No: PUR/2010-11/IND14499/KK | Date: 08/11/2010 |
| --- | --- |

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | gel doc system, 1 | 1234 | 2 |

Important : Quote in Two bid i.e. (1) Tech. Bid (2) Price Bid Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. Please quote strictly as per our specifications. Please attach compliance sheet Proforma Invoice received after due date will not be considered under any circumstances. Please note that your Quotation should reach us latest by 23/11/2010 opened on 24/11/2010 Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation.

Yours faithfully,

Stores & Purchase Officer.

Specifications for Gel Documentation System

- 12-bit Scientific Grade, CCD Camera with Anti-reflective coating

- Motorized zoom lens: 8-48 mm

- At least 1.4 Megapixel Resolution

- Sensitivity up to 50 pg level or less

- Should have Flat Field Calibration for uniformity of light acquisition cross the sensor.

- Darkroom should be chemiluminescence imaging ready

- Should have atleast 3-position filter wheel for Multiplex Imaging

- Filter sets for capturing images of DNA/RNA gels stained with ethidium-bromide stained SYBR Green, coomassie-blue protein gels and Ponceau-S stained protein blots

- UV Transilluminator mounted on slide out tray: Dual wavelength without changing tubes (302 and 365nm), Dual Intensity (Hi/Lo) & EvenScan. Imaging area of 20 x 25 cm or more

- Operation of motorized zoom lens-focus, aperture and image size through computer software obviating the need for touching the camera or lens assembly

- Dual Epi-White Lights

- Independent Source for Transilluminated White Light; imaging area of 20 x 30 cm or more

- Software for acquisition, enhancement, editing, annotation, archiving, simultaneous display of multiple gels & analysis including features like 1-D multilane densitometry, 2-D spot densitometry, MW, Rf analysis, Microtiter plate, Eli-spot, Array & Dot Blot Analysis, Colony,  Zymogram gel analysis, Gel Scoring, Band matching, RFLP, RAPD, Fingerprinting, Dendrogram creation, options for Dice, Jacard, Pearson, Frequency, Similarity Coefficients, & Cluster analysis with multiple methods including Neighbor joining, UPGMA, WPGMA, Simple linkage, complete linkage, ward, median, centroid etc.,

- Should include at least two additional stand-alone copies of the analysis software

- Software for RFLP/Dendrogram analysis with capability of comparing lanes/bands across multiple gels (Database), performing phylogenetic analysis of the banding pattern data from RFLP, AFLP, RAPD, PFGE or any other DNA fingerprinting methods, Cluster analysis available through UPGMA Dendrogram/ Principal components analysis/ WPGMA/Simple Linkage/ Complete/Nei & Li method, Link-etal method etc., automatically scoring alleles in STR/microsatellite/VNTR experiments and flag samples as heterozygous or homozygous.

- Computer (Intel Pentium Dual Core Processor, 320GB HDD, 3 GB RAM, DVD Writer, 19” TFT Color Monitor, Keyboard, Mouse) with genuine windows operating system.

- Laser Jet P2015Dn printer

- Appropriate table and chair (Godrej make).

TERMS & CONDITIONS

Commercial

1) Cost                  : 	Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment.

2) Insurance         :	Consignment should be insured through National Insurance               Company of India or is associate in your country.

3) Freight              :	The dispatch of the material should be through Air India preferably.

4) Agency             : 	Mention the   percentage   of  Indian  Agency   Commission  payable  to

Commission                    commission Indian Agent in INR and also mention the name of your   authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end.

5) Validity             : 	The validity of your pro forma invoice should be less than 180 days from the date of opening.

6) Warranty           : 	Mention the warranty period of equipment after satisfactory   installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above

General Condition

- Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market.

- Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization.

- Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years.

- Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required.

- Provide the list of the users in India of the same equipment along with their contact / email address.

- Enclose a copy of agreement with your authorized Indian Agent.

- 10% Performance Bank Guarantee must be submitted if order value beyond 25.00 lakhs.

FAX : 0091-172-2690056, 2690632			                                   email : purchase@imtech.res.in

TEL  : 0091-0172-2690056, 2636680 - 94     	                                            website : www.imtech.res.in